## Slide 1
Click the left mouse button for each slide
Electrical Trades
Continue
Updated 11Oct 2017. G Fielding
(Or press the SPACEBAR or ENTER key)
Three Phase Star and Delta concepts

## Slide 2: G006A
Continue

## Slide 3: G006A
Continue
List two advantages of a three phase distribution system over a single phase distribution system.

## Slide 4: G006A
Continue

## Slide 5: G006A
Continue
Delta.
Star

## Slide 6: G006A
Continue
What is an alternative name for a star connection?
A Wye connection.

## Slide 7: G006A
Continue
10. What is an alternative name for a delta connection?
A Mesh connection.

## Slide 8: G006A
Continue
What is the name given to a three phase circuit in which the load on each of the three phases is identical?
A balanced three phase circuit.

## Slide 9: G006A
Continue
How much current would be flowing in the neutral conductor if the load on each of the three phases in a three phase distribution system was identical?
Zero amps. If a three phase star connected circuit is balanced there is no difference of potential between the star point and earth.

## Slide 10: G006A
Continue
What is the voltage between the star point and earth if three identical electrical devices are connected in star?
Zero volts.
Zero volts

## Slide 11: G006A
Continue
Three identical resistors or windings are connected in STAR. What is the name given to the values of voltage and current with respect to each of the three identical components?
Phase current or voltage; or coil current or voltage if the components are coils - as in motors or transformers.

## Slide 12: G006A
Continue
Draw a neat circuit diagram showing three identical resistors connected in STAR. Show the three phase supply and include instruments to indicate one of each of the following values:
Line E Line I Phase E Phase I
Correct diagram - Star connection

## Slide 13: G006A
Continue
Draw a neat circuit diagram showing three identical resistors connected in DELTA. Show the three phase supply and include instruments to indicate one of each of the following values:
Line E Line I Phase E Phase I
Correct diagram - Delta connection.

## Slide 14: G006A
Continue
Three identical resistors are connected in star to a 415 volt three phase supply. What is the PHASE voltage in the circuit?
240 volts.
240 volts

## Slide 15: G006A
Continue
If a balanced three phase delta connected circuit has a line current of 60 amps, what is the value of the phase current?
34.64 amps approximately. In DELTA; Phase I = Line I/1.7321.

## Slide 16: G006A
Continue
If a balanced star connected three phase circuit has a line current of 90 amps, what is the phase current?
90 amps. In STAR; Line I = Phase I.

## Slide 17: G006A
Continue
If a balanced three phase delta connected circuit had a phase current of 70 amps, what is the value of LINE current?
121.24 amps approximately. In DELTA; Line I = Phase I x 1.7321.

## Slide 18: G006A
Continue
If a three phase balanced star connected circuit had a phase current of 20 amps, what is the value of LINE CURRENT?
20 amps. In STAR; Phase I = Line I.

## Slide 19: G006A
Continue
If a balanced star connected three phase circuit has a line voltage of 300 volts, what is the phase voltage?
173.21 volts. In STAR; Phase E = Line E/1.7321

## Slide 20: G006A
Continue
If a balanced delta connected three phase circuit has a line voltage of 400 volts, what is the phase voltage?
400 volts. In DELTA; Phase E = Line E.

## Slide 21: G006A
Continue
What is the phase voltage across two resistors in a balanced 415 volt three phase star connected circuit if the supply to the third resistor is safely disconnected?
207.5 volts - half the line voltage.

## Slide 22: G006A
Continue
Which common balanced three phase connection has the dissimilar ends of each coil winding connected together?
The delta connection.

## Slide 23: G006A
Continue
Which common balanced three phase connection has the similar ends of each coil winding connected together?
The star connection.

## Slide 24: The End
Thank you for participating in this presentation.
Click or press ESC to exit.
Continue