MOBILE    0777 70 71 61   SARATH DEVAPPRIYA

Vernier  Caliper /Calliper

The Vernier Caliper is a precision instrument that can be used to measure internal and external distances extremely accurately.

Parts of  a vernier   caliper:

- External jaws: used to measure external lengths              2. Internal jaws: used to measure internal lengths

3.    Depth probe/shaft/blade: used to measure depths         4.Main scale (cm)               5.Main scale (inch)

6.    Vernier scale (cm)                                                                    7.Vernier  scale (inch)

8.    Retainer: used to block movable part to allow the easy transferring a measurement

Digital vernier caliper

Long  Jaws Vernier Caliper

The least  value that  can  be  measured by  an  instrument  is  called  The  least  count  of  the  instrument.

The value  of  one  vernier  scale  division  =  The value  of  the  n number of  divisions  on  the main scalenumber of  divisions  on  the vernier scale

The  least  count  =  The value  of  one  main  scale  division  - The value  of  one  vernier  scale  division

The  least  count  =  (The value  of   main  scale division/divisions         -       The value  of  one  vernier  scale  division

Just before the 1st division on the  vernier scale)

Students  Vernier  Caliper

A Students  vernier  caliper  is  used to  measure a

- small  object  with  dimension  up  to  12cm

- There are two pair of jaws, one is designated to measure linear and outer/external diameters while
the other is to measure inner /internal diameter

- A vernier caliper consists of two steel bar scales, one sliding over the other.

(i)    The main scale is graduated in intervals of  1 mm.

(ii)    The sliding vernier scale has a scale on which ten divisions are equal to

nine small divisions on the main scale ( 9mm )

(iii)    The difference between the sizes of one division on the main scale and

one division on the vernier scale is  1mm- .9mm = 0.1mm =  0.01cm  giving a vernier scale an accuracy of

0.01 cm.

How to use Vernier Calliper

- Close the jaws lightly on the object to be measured.

- If you are measuring something with a round cross section, make sure that the axis of the object is perpendicular to the caliper. This is necessary to ensure that you are measuring the full diameter and not merely a chord.

- Ignore the top scale, which is calibrated in inches.

- Use the bottom scale, which is in metric units.

- Notice that there is a fixed scale and a sliding scale.

- The boldface numbers on the fixed scale are centimeters.

- The tick marks on the fixed scale between the boldface numbers are millimeters.

- There are ten tick marks on the sliding scale. The left-most tick mark on the sliding scale will let you read from the fixed scale the number of whole millimeters that the jaws are opened.

Vernier Scale Reading  =   least count x Number of the division which coincides with the main scale division

Vernier Caliper Reading    =   main scale reading + (least count x Number of the division which

coincides with the main scale division)

Vernier Caliper Reading    =   main scale reading + Vernier Scale Reading

Wow to read Vernier Calliper

- First obtain the main scale reading.

That is the reading on the main scale up to the main scale division just  before the zero division on the vernier scale

MSR =53mm= 5cm + 3mm = 5cm +0.3cm = 5.3cm

- Now obtain vernier scale reading.

That is the reading on the vernier  scale corresponding to the vernier scale division which coincides with a main scale division.

7th division on the vernier scale

Vernier Scale Reading  =   least count x Number of the division which coincides with the main scale division

=  0 .1mm x 7  = 0.7mm = 0.07cm

Vernier Caliper Reading    =   main scale reading + Vernier Scale Reading

=   5.3cm + 0.07cm  = 5.37cm

Vernier  caliper  reading  is  =  5.37 x 10mm =  53.7mm

Least count of Different  Vernier Callipers

Eg 1     49 divisions on the main scale are divided in to 50 on the vernier scale

The  least  count  =      The value  of  one  main  scale  division  - The value  of  one  vernier  scale  division

=     1mm - 1mmx4950 = 1mm – 0.98mm  =  0.02mm

Eg 2     39 divisions on the main scale are divided in to 20 on the vernier scale

The  least  count  =  (The value  of   main  scale division/divisions         -       The value  of  one  vernier  scale  division

Just before the 1st division on the  vernier scale)

=   2mm - 1mmx3920 = 2mm – 1.95mm  =  0.05mm

For MCQ’s

The  least  count        =       The value  of   one  division  on  the main scalenumber of  divisions  on  the vernier scale

Eg 1           The  least  count      	=       1mm50     =     0.02mm

Eg 2	         The  least  count      	=       1mm20          =     0.05mm

ZERO ERROR OF VERNIER CALLIPHERS

(i) No zero error.

The '0' mark on the main scale is exactly in line with   the '0’ mark On the vernier scale when the vernier

caliper  is fully closed.

( ii) Positive zero error

The vernier scale is at distance to the right of the '0' mark on the  main scale when vernier caliper is fully

closed .

Eg 1  This error is positive zero error =  + 0.02 cm              Eg 2  This error is positive zero error =  + 0.03 cm

(Fig. 1)                           Correction  =  -  0.02cm                  (Fig. 2)                             Correction  =  -  0.03cm

(Fig. 2)

(Fig. 1)

(iii) Negative zero error

Negative zero error =    (Total number of divisions    -  Number of the coincident  ) x least count

on the vernier scale	            division

The vernier scale is at distance to the left of the '0' mark on the main scale when vernier caliper is fully closed.

This error is negative zero error =   - ( 10 - 4 ) x0.1    This error is negative zero error =   - (10 - 3 ) x0.1

(Fig. 3)                               =  - 6x0.1 	(Fig. 4)        	=    - 7 x 0.1

=  -  0.06cm                                	=  -  0.07cm

Correction  =  +  0.06cm	                                          Correction  =  +  0.07cm

(Fig. 3)                                                                                         	(Fig. 4)

No Zero Error	                                                                       Positive Zero Error  ……………………………

Negative Zero Error  ………………………………

(01) Reading ………………………

(02)   Zero error  …………………….       	                                               (03)   Zero error  …………………….

(04)

Reading ……………………..

(05) Reading …………………………….	(06) Zero error

……………………..

(07) Reading ………………………

(08) Reading ………………………	                     (09) Reading ………………………

(12) Reading ……………

(10) Zero error  ……………                   (11) Reading ………………

(13) Reading ………………	                 (14)   Zero error  …………………….                   (15)   Zero error  …………………….

(20 )

(16)

(16)   Zero error  …………………….

(17) Reading ………………

(18) Reading ………………

(19)   Zero error  …………………….

NOTES……………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

(07) …………………..                              (08)………………………….                                           (09)…………………..

SN ………………………………………………………………………………………………………………………………………………………………..

……………………………………………………………………………………………………………………………………………………………………..

………………………………………………………………………………………………………………………………………………………………………

………………………………………………………………………………………………………………………………………………………………………

…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………..

)

For AL Physics Small    Group classes   ENGLISH MEDIUM     DEV PHYSICS CENTRE No. 52, Lorenz  ROAd , BAMBALAPITIYA    Sarath Devappriya

Mobile – 0777 792289     TP  (011)   720  2600

ZERO ERROR OF VERNIER CALLIPHERS

(i) No zero error.

the '0' mark on the main scale is exactly in line with the '0’ mark On the vernier scale when the vernier caliper is fully closed.

( ii) Positive zero error

the vernier scale is at distance to the right of the '0' mark on the main scale when vernier caliper is fully closed This error is positive zero error =  + 0.04 cm

Correction =  -  0.04cm

ii) Negative zero error

the vernier scale is at distance to the left of the '0' mark on the main scale when vernier caliper is fully closed.

This error is negative zero error =   - ( 0. 1 - 0.08 )

=  -  0.02cm

Correction =  +  0.04cm

For AL Physics Small    Group classes   ENGLISH MEDIUM     DEV PHYSICS CENTRE No. 52, Lorenz  ROAd , BAMBALAPITIYA    Sarath Devappriya

Mobile – 0777 707161     TP  (011)   720  2600